## 中央流入(合流系)
1
令和４年度
| 精密試験結果 |  | 流入水（合流系） | [12 empty] | 中央水みらいセンター | [10 empty] | 流入水（合流系） |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目
|  | (1-21,60,61） | 2022-04-06 | 2022-04-20 | 2022-05-11 | 2022-05-18 | 2022-06-01 | 2022-06-16 | 2022-07-07 | 2022-07-21 | 2022-08-03 | 2022-08-24 | 2022-09-08 | 2022-09-21 | 2022-10-06 | 2022-10-19 | 2022-11-09 | 2022-11-16 | 2022-12-07 | 2022-12-21 | 2023-01-11 | 2023-01-18 | 2023-02-01 | 2023-02-15 | 2023-03-01 | 2023-03-08
|  | （22-59） | 2022-04-06 | － | 2022-05-11 | － | 2022-06-01 | － | 2022-07-07 | － | 2022-08-03 | － | 2022-09-08 | － | 2022-10-06 | － | 2022-11-09 | － | 2022-12-07 | － | 2023-01-11 | － | 2023-02-01 | － | 2023-03-01 | －
1 | 採水方法 |  | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット |  |  |  |  | 22-58はスポット採水
2 | 水温 | ℃ | 19.9 | 21.7 | 21.6 | 21.9 | 23.2 | 23.8 | 26.4 | 26.7 | 28.7 | 28 | 27.4 | 26.2 | 25.7 | 24.5 | 23.4 | 22.5 | 21.1 | 19.2 | 18 | 18.7 | 17.5 | 17.6 | 18.6 | 18.6 | 22.5 | 28.7 | 17.5 | 水温
3 | 透視度 | 度 | 5 | 9 | 7.5 | 9.5 | 10 | 10 | 9.5 | 13 | 6 | 10 | 8.5 | 7.5 | 7.3 | 5.6 | 11 | 7.2 | 11 | 9 | 8.5 | 6 | 10 | 3.8 | 7 | 10 | 8.4 | 13 | 3.8 | 透視度
4 | pH |  | 6.8 | 6.9 | 6.8 | 6.6 | 7.3 | 7.2 | 7.3 | 7.1 | 6.5 | 7.1 | 7.1 | 6.8 | 7.2 | 7 | 6.7 | 7.2 | 6.8 | 6.8 | 6.9 | 6.9 | 6.8 | 6.9 | 7.2 | 7.2 | 7 | 7.3 | 6.5 | pH
5 | 蒸発残留物 | mg／L | 498 | 404 | 372 | 332 | 374 | 366 | 326 | 340 | 478 | 358 | 376 | 442 | 406 | 418 | 388 | 424 | 328 | 378 | 390 | 546 | 452 | 594 | 430 | 440 | 411 | 594 | 326 | 蒸発残留物
6 | 強熱残留物 | mg／L | 206 | 248 | 266 | 206 | 216 | 206 | 206 | 244 | 238 | 216 | 238 | 230 | 244 | 182 | 180 | 212 | 250 | 224 | 172 | 214 | 206 | 172 | 196 | 208 | 216 | 266 | 172 | 強熱残留物
7 | 強熱減量 | mg／L | 292 | 156 | 106 | 126 | 158 | 160 | 120 | 96 | 240 | 142 | 138 | 212 | 162 | 236 | 208 | 212 | 78 | 154 | 218 | 332 | 246 | 422 | 234 | 232 | 195 | 422 | 78 | 強熱減量
8 | 溶解性物質 | mg／L | 352 | 349 | 283 | 301 | 316 | 334 | 303 | 316 | 387 | 295 | 321 | 404 | 353 | 360 | 334 | 375 | 305 | 323 | 337 | 436 | 387 | 254 | 363 | 373 | 340 | 436 | 254 | 溶解性物質
9 | 浮遊物質（SS） | mg／L | 146 | 55 | 89 | 31 | 58 | 32 | 23 | 24 | 91 | 63 | 55 | 38 | 53 | 58 | 54 | 49 | 23 | 55 | 53 | 110 | 65 | 340 | 67 | 67 | 71 | 340 | 23 | 浮遊物質（SS）
10 | 生物化学的酸素要求量（BOD） | mg／L | 230 | 130 | 120 | 100 | 130 | 200 | 150 | 72 | 190 | 140 | 210 | 140 | 110 | 140 | 180 | 280 | 81 | 110 | 94 | 150 | 190 | 310 | 120 | 140 | 150 | 310 | 72 | 生物化学的酸素要求量（BOD）
11 | 化学的酸素要求量（COD） | mg／L | 130 | 84 | 93 | 63 | 61 | 60 | 54 | 44 | 110 | 53 | 67 | 96 | 68 | 100 | 71 | 92 | 59 | 69 | 92 | 110 | 84 | 170 | 91 | 81 | 83 | 170 | 44 | 化学的酸素要求量（COD）
12 | 全窒素（T-N） | mg／L | 45 | 41 | 40 | 27 | 37 | 35 | 25 | 25 | 39 | 30 | 35 | 30 | 33 | 38 | 31 | 42 | 20 | 29 | 37 | 39 | 35 | 45 | 36 | 36 | 35 | 45 | 20 | 全窒素（T-N）
13 | 有機性窒素 | mg／L | 10 | 9.8 | 8.8 | 10 | 8.8 | 12 | 6.8 | 6.9 | 13 | 9.8 | 10 | 7.8 | 5.8 | 11 | 8.7 | 10 | 6.8 | 7.8 | 11 | 13 | 11 | 19 | 11 | 10 | 10 | 19 | 5.8 | 有機性窒素 | ※１
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | 34 | 31 | 31 | 17 | 28 | 23 | 18 | 18 | 25 | 20 | 24 | 22 | 27 | 26 | 22 | 31 | 13 | 21 | 26 | 25 | 23 | 26 | 24 | 25 | 24 | 34 | 13 | ｱﾝﾓﾆｱ性窒素（NH4－N）
15 | 亜硝酸性窒素（NO2－N） | mg／L | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.13 | <0.010 | 0.13 | <0.010 | 亜硝酸性窒素（NO2－N）
16 | 硝酸性窒素（NO3－N） | mg／L | 0.1 | 0.18 | 0.13 | <0.10 | 0.13 | <0.10 | 0.12 | 0.1 | 0.19 | 0.12 | 0.15 | 0.14 | 0.14 | 0.15 | 0.23 | 0.2 | 0.14 | 0.11 | <0.10 | 0.13 | 0.13 | <0.10 | 0.13 | 0.12 | 0.12 | 0.23 | <0.10 | 硝酸性窒素（NO3－N）
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | 13 | 12 | 12 | 6.8 | 11 | 9.2 | 7.3 | 7.3 | 10 | 8.1 | 9.7 | 8.9 | 10 | 10 | 9 | 12 | 5.3 | 8.5 | 10 | 10 | 9.3 | 10 | 9.7 | 10 | 9.5 | 13 | 5.3 | ｱﾝﾓﾆｱ性窒素等 | ※２
18 | 全燐（T－P） | mg／L | 5.3 | 4.7 | 4.1 | 2.9 | 3.6 | 3.3 | 2.5 | 2.3 | 4.1 | 3.2 | 3.4 | 3.5 | 3.5 | 3.9 | 3.5 | 4.2 | 2.2 | 2.9 | 4.1 | 4.4 | 3.6 | 5.9 | 3.8 | 3.5 | 3.7 | 5.9 | 2.2 | 全燐（T－P）
19 | りん酸態りん | mg／L | 3.4 | 3.2 | 2.7 | 2.1 | 2.6 | 2.4 | 1.7 | 1.6 | 2.6 | 2.1 | 2.3 | 2 | 2.5 | 2.6 | 2.5 | 2.9 | 1.4 | 2 | 2.8 | 2.6 | 2.5 | 3.5 | 2.5 | 2.5 | 2.5 | 3.5 | 1.4 | りん酸態りん
20 | 塩化物イオン | mg／L | 58 | 97 | 50 | 48 | 43 | 54 | 46 | 40 | 53 | 38 | 43 | 50 | 59 | 53 | 49 | 48 | 71 | 49 | 51 | 63 | 51 | 47 | 55 | 68 | 54 | 97 | 38 | 塩化物イオン
21 | よう素消費量 | mg／L | [24 empty] | ― | ― | ― | よう素消費量 | bar: 2022-04-06 to 2023-03-08
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | 21 | － | 13 | － | 9 | － | 5 | － | 16 | － | 11 | － | 10 | － | 8 | － | 10 | － | 29 | － | 13 | － | 16 | － | 13 | 29 | 5 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動）
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | bar: 2022-04-06 to 2023-03-08
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | bar: 2022-04-06 to 2023-03-08
25 | 陰イオン界面活性剤 | mg／L | [24 empty] | ― | ― | ― | 陰イオン界面活性剤 | bar: 2022-04-06 to 2023-03-08
26 | ﾌｪﾉｰﾙ類 | mg／L | 0.06 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | 0.06 | － | <0.05 | － | 0.05 | － | <0.05 | － | <0.05 | － | <0.05 | 0.06 | <0.05 | ﾌｪﾉｰﾙ類
27 | ｼｱﾝ含有量 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｼｱﾝ含有量
28 | ｱﾙｷﾙ水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｱﾙｷﾙ水銀
29 | 有機燐 | mg／L | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | <0.1 | <0.1 | <0.1 | 有機燐
30 | ｶﾄﾞﾐｳﾑ | mg／L | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | <0.003 | <0.003 | ｶﾄﾞﾐｳﾑ
31 | 鉛 | mg／L | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | <0.01 | <0.01 | 鉛
32 | PCB | mg／L | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | ND | ND | ND | PCB
33 | 六価ｸﾛﾑ | mg／L | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | <0.04 | <0.04 | 六価ｸﾛﾑ
34 | 砒素 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 砒素
35 | 総水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | 総水銀
36 | ｸﾛﾑ | mg／L | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | <0.02 | <0.02 | ｸﾛﾑ
37 | 銅 | mg／L | 0.02 | － | 0.02 | － | <0.02 | － | <0.02 | － | 0.02 | － | 0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | 0.04 | － | 0.03 | － | <0.02 | － | <0.02 | 0.04 | <0.02 | 銅
38 | 亜鉛 | mg／L | 0.08 | － | 0.04 | － | 0.05 | － | 0.04 | － | 0.09 | － | 0.06 | － | 0.04 | － | 0.03 | － | 0.03 | － | 0.11 | － | 0.06 | － | 0.04 | － | 0.06 | 0.11 | 0.03 | 亜鉛
39 | 鉄（溶解性） | mg／L | 0.8 | － | 0.7 | － | 0.5 | － | 0.6 | － | 0.8 | － | 0.8 | － | 0.5 | － | 0.6 | － | 0.8 | － | 0.6 | － | 0.5 | － | 0.7 | － | 0.7 | 0.8 | 0.5 | 鉄（溶解性）
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | 0.1 | － | 0.1 | － | <0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | <0.1 | － | 0.1 | － | <0.1 | 0.1 | <0.1 | ﾏﾝｶﾞﾝ（溶解性）
41 | ﾌｯ素 | mg／L | <0.1 | － | <0.1 | － | <0.1 | － | 0.1 | － | <0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | 0.1 | － | <0.1 | 0.1 | <0.1 | ﾌｯ素
42 | ﾎｳ素 | mg／L | 0.03 | － | 0.03 | － | 0.03 | － | 0.04 | － | 0.05 | － | 0.04 | － | 0.04 | － | 0.05 | － | 0.04 | － | 0.04 | － | 0.03 | － | 0.03 | － | 0.04 | 0.05 | 0.03 | ﾎｳ素
43 | ｾﾚﾝ及びその化合物 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | ｾﾚﾝ及びその化合物
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE）
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE）
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | ｼﾞｸﾛﾛﾒﾀﾝ
47 | 四塩化炭素 | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 四塩化炭素
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ
54 | ﾁｳﾗﾑ | mg／L | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | <0.0006 | <0.0006 | <0.0006 | ﾁｳﾗﾑ
55 | ｼﾏｼﾞﾝ | mg／L | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | <0.0005 | <0.0005 | <0.0005 | ｼﾏｼﾞﾝ
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | <0.0003 | <0.0003 | <0.0003 | ﾁｵﾍﾞﾝｶﾙﾌﾞ
57 | ﾍﾞﾝｾﾞﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾍﾞﾝｾﾞﾝ
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | <0.05 | <0.05 | 1,4-ｼﾞｵｷｻﾝ
59 | ﾆｯｹﾙ | mg／L | [24 empty] | ― | ― | ― | ﾆｯｹﾙ | bar: 2022-04-06 to 2023-03-08
|  |  | 微灰黄色 | 灰黄色 | 微灰黄色 | 灰黄色 | 微灰黄色 | 灰黄色 | 微灰黄色 | 灰黄色 | 微灰黄色 | 灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微灰黄色
60 | 大腸菌群数 | 個／cm3 | 100000 | 89000 | 100000 | 66000 | 77000 | 82000 | 150000 | 120000 | 140000 | 150000 | 120000 | 150000 | 110000 | 110000 | 100000 | 110000 | 87000 | 57000 | 70000 | 51000 | 67000 | 94000 | 68000 | 72000 | 98000 | 150000 | 51000 | 大腸菌群数
61 | 残留塩素（total） | mg／L | [24 empty] | ― | ― | ― | 残留塩素（total） | bar: 2022-04-06 to 2023-03-08
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素

## 中央流入(分流系)
2
令和４年度
| 精密試験結果 |  | 流入水（分流系） | [12 empty] | 中央水みらいセンター | [10 empty] | 流入水（分流系） |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目
|  | (1-21,60,61） | 2022-04-06 | 2022-04-20 | 2022-05-11 | 2022-05-18 | 2022-06-01 | 2022-06-16 | 2022-07-07 | 2022-07-21 | 2022-08-03 | 2022-08-24 | 2022-09-08 | 2022-09-21 | 2022-10-06 | 2022-10-19 | 2022-11-09 | 2022-11-16 | 2022-12-07 | 2022-12-21 | 2023-01-11 | 2023-01-18 | 2023-02-01 | 2023-02-15 | 2023-03-01 | 2023-03-08
|  | （22-59） | 2022-04-06 | － | 2022-05-11 | － | 2022-06-01 | － | 2022-07-07 | － | 2022-08-03 | － | 2022-09-08 | － | 2022-10-06 | － | 2022-11-09 | － | 2022-12-07 | － | 2023-01-11 | － | 2023-02-01 | － | 2023-03-01 | －
1 | 採水方法 |  | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット |  |  |  |  | 22-58はスポット採水
2 | 水温 | ℃ | 20.4 | 22 | 23.1 | 23.4 | 23.3 | 25.6 | 28 | 28.6 | 29.9 | 28.3 | 28.7 | 28.1 | 26 | 26 | 23.8 | 23.7 | 23 | 19.5 | 20 | 19.5 | 17.7 | 18.2 | 18.8 | 18.8 | 23.5 | 29.9 | 17.7 | 水温
3 | 透視度 | 度 | 4.9 | 6 | 4.5 | 4.5 | 6 | 5 | 5 | 6.5 | 5 | 6.2 | 5.5 | 5 | 3.8 | 5 | 10 | 5 | 4.5 | 8 | 5 | 4.5 | 7 | 5 | 5 | 5.5 | 5.5 | 10 | 3.8 | 透視度
4 | pH |  | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.4 | 7.5 | 7.3 | 7.2 | 7.3 | 7.4 | 7.5 | 7.4 | 7.4 | 7.2 | 7.3 | 7.6 | 7.6 | 7.6 | 7.8 | 7.5 | 7.8 | 7.7 | 7.6 | 7.5 | 7.8 | 7.2 | pH
5 | 蒸発残留物 | mg／L | 1502 | 2214 | 1878 | 2048 | 2528 | 2072 | 2254 | 2204 | 2290 | 2590 | 2088 | 1974 | 2100 | 994 | 550 | 548 | 1768 | 2202 | 2220 | 1816 | 2128 | 1794 | 1810 | 1828 | 1892 | 2590 | 548 | 蒸発残留物
6 | 強熱残留物 | mg／L | 762 | 1246 | 1010 | 994 | 1266 | 892 | 1156 | 970 | 1018 | 1038 | 804 | 902 | 956 | 486 | 192 | 268 | 1000 | 1208 | 1156 | 1018 | 1110 | 942 | 922 | 850 | 924 | 1266 | 192 | 強熱残留物
7 | 強熱減量 | mg／L | 740 | 968 | 868 | 1054 | 1262 | 1180 | 1098 | 1234 | 1272 | 1552 | 1284 | 1072 | 1144 | 508 | 358 | 280 | 768 | 994 | 1064 | 798 | 1018 | 852 | 888 | 978 | 968 | 1552 | 280 | 強熱減量
8 | 溶解性物質 | mg／L | 1354 | 2022 | 1676 | 1896 | 2368 | 1938 | 2046 | 2114 | 2136 | 2490 | 1932 | 1872 | 1924 | 854 | 412 | 392 | 1568 | 2052 | 2050 | 1636 | 1990 | 1630 | 1644 | 1588 | 1733 | 2490 | 392 | 溶解性物質
9 | 浮遊物質（SS） | mg／L | 148 | 192 | 202 | 152 | 160 | 134 | 208 | 90 | 154 | 100 | 156 | 102 | 176 | 140 | 138 | 156 | 200 | 150 | 170 | 180 | 138 | 164 | 166 | 240 | 159 | 240 | 90 | 浮遊物質（SS）
10 | 生物化学的酸素要求量（BOD） | mg／L | 190 | 230 | 180 | 190 | 210 | 310 | 310 | 150 | 160 | 230 | 320 | 170 | 200 | 140 | 310 | 310 | 210 | 120 | 160 | 160 | 210 | 180 | 160 | 240 | 210 | 320 | 120 | 生物化学的酸素要求量（BOD）
11 | 化学的酸素要求量（COD） | mg／L | 100 | 130 | 110 | 110 | 120 | 100 | 100 | 100 | 110 | 98 | 91 | 100 | 120 | 100 | 110 | 98 | 120 | 110 | 110 | 110 | 120 | 110 | 110 | 120 | 110 | 130 | 91 | 化学的酸素要求量（COD）
12 | 全窒素（T-N） | mg／L | 49 | 51 | 50 | 49 | 48 | 44 | 47 | 42 | 47 | 44 | 46 | 43 | 50 | 47 | 47 | 49 | 51 | 45 | 50 | 50 | 51 | 48 | 48 | 51 | 48 | 51 | 42 | 全窒素（T-N）
13 | 有機性窒素 | mg／L | 9.7 | 12 | 13 | 15 | 11 | 10 | 12 | 12 | 11 | 12 | 12 | 12 | 18 | 17 | 16 | 14 | 19 | 14 | 17 | 15 | 17 | 15 | 13 | 16 | 13.9 | 19 | 9.7 | 有機性窒素 | ※１
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | 39 | 38 | 36 | 34 | 36 | 33 | 34 | 29 | 35 | 31 | 33 | 30 | 31 | 29 | 30 | 34 | 31 | 30 | 32 | 34 | 33 | 32 | 34 | 34 | 33 | 39 | 29 | ｱﾝﾓﾆｱ性窒素（NH4－N）
15 | 亜硝酸性窒素（NO2－N） | mg／L | 0.29 | 0.023 | <0.010 | <0.010 | <0.010 | 0.011 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.012 | 0.51 | 0.016 | 0.16 | 0.16 | 0.13 | 0.21 | 0.3 | 0.25 | 0.17 | 0.1 | 0.098 | 0.51 | <0.010 | 亜硝酸性窒素（NO2－N）
16 | 硝酸性窒素（NO3－N） | mg／L | <0.10 | 0.14 | 0.1 | <0.10 | 0.12 | 0.12 | 0.12 | 0.13 | 0.12 | 0.13 | 0.16 | 0.1 | 0.14 | 0.1 | 0.17 | 0.18 | 0.23 | 0.1 | <0.10 | 0.1 | 0.14 | 0.15 | 0.13 | 0.11 | 0.12 | 0.23 | <0.10 | 硝酸性窒素（NO3－N）
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | 15 | 15 | 14 | 13 | 14 | 13 | 13 | 11 | 14 | 12 | 13 | 12 | 12 | 11 | 12 | 13 | 12 | 12 | 12 | 13 | 13 | 13 | 13 | 13 | 12.8 | 15 | 11 | ｱﾝﾓﾆｱ性窒素等 | ※２
18 | 全燐（T－P） | mg／L | 4.8 | 4.9 | 5.1 | 5.1 | 4.6 | 4.6 | 4.6 | 4.2 | 4.6 | 4.6 | 4.9 | 4.5 | 6.4 | 5.6 | 7.1 | 6 | 5.1 | 4.2 | 4.9 | 4.9 | 4.5 | 4.8 | 4.9 | 4.9 | 5 | 7.1 | 4.2 | 全燐（T－P）
19 | りん酸態りん | mg／L | 3.1 | 3.3 | 3.3 | 3 | 3.3 | 3.1 | 2.9 | 2.8 | 3.2 | 2.7 | 3.2 | 2.8 | 4.3 | 3.7 | 4.8 | 4 | 3 | 2.9 | 3.1 | 3 | 3.1 | 3.3 | 3 | 3.1 | 3.3 | 4.8 | 2.7 | りん酸態りん
20 | 塩化物イオン | mg／L | 650 | 830 | 630 | 690 | 600 | 640 | 710 | 640 | 710 | 730 | 550 | 620 | 550 | 260 | 76 | 85 | 670 | 670 | 870 | 720 | 670 | 500 | 660 | 670 | 600 | 870 | 76 | 塩化物イオン
21 | よう素消費量 | mg／L | [24 empty] | ― | ― | ― | よう素消費量 | bar: 2022-04-06 to 2023-03-08
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | 15 | － | 14 | － | 16 | － | 13 | － | 14 | － | 10 | － | 14 | － | 9 | － | 15 | － | 14 | － | 14 | － | 10 | － | 13 | 16 | 9 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動）
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | bar: 2022-04-06 to 2023-03-08
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | bar: 2022-04-06 to 2023-03-08
25 | 陰イオン界面活性剤 | mg／L | [24 empty] | ― | ― | ― | 陰イオン界面活性剤 | bar: 2022-04-06 to 2023-03-08
26 | ﾌｪﾉｰﾙ類 | mg／L | <0.05 | － | <0.05 | － | <0.05 | － | 0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | 0.05 | － | 0.05 | － | <0.05 | － | <0.05 | － | <0.05 | 0.05 | <0.05 | ﾌｪﾉｰﾙ類
27 | ｼｱﾝ含有量 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｼｱﾝ含有量
28 | ｱﾙｷﾙ水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｱﾙｷﾙ水銀
29 | 有機燐 | mg／L | - | － | <0.1 | － | - | － | - | － | <0.1 | － | - | － | - | － | <0.1 | － | - | － | - | － | <0.1 | － | - | － | <0.1 | <0.1 | <0.1 | 有機燐
30 | ｶﾄﾞﾐｳﾑ | mg／L | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | <0.003 | <0.003 | ｶﾄﾞﾐｳﾑ
31 | 鉛 | mg／L | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | <0.01 | <0.01 | 鉛
32 | PCB | mg／L | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | ND | ND | ND | PCB
33 | 六価ｸﾛﾑ | mg／L | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | <0.04 | <0.04 | 六価ｸﾛﾑ
34 | 砒素 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 砒素
35 | 総水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | 総水銀
36 | ｸﾛﾑ | mg／L | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | <0.02 | <0.02 | ｸﾛﾑ
37 | 銅 | mg／L | <0.02 | － | 0.02 | － | 0.03 | － | <0.02 | － | 0.02 | － | 0.02 | － | 0.02 | － | 0.03 | － | 0.03 | － | 0.02 | － | <0.02 | － | <0.02 | － | <0.02 | 0.03 | <0.02 | 銅
38 | 亜鉛 | mg／L | 0.04 | － | 0.06 | － | 0.09 | － | 0.05 | － | 0.16 | － | 0.07 | － | 0.13 | － | 0.13 | － | 0.08 | － | 0.06 | － | 0.03 | － | 0.04 | － | 0.08 | 0.16 | 0.03 | 亜鉛
39 | 鉄（溶解性） | mg／L | 0.3 | － | 0.2 | － | 0.1 | － | 0.2 | － | 0.2 | － | 0.2 | － | 0.2 | － | 0.3 | － | 0.3 | － | 0.1 | － | 0.1 | － | 0.2 | － | 0.2 | 0.3 | 0.1 | 鉄（溶解性）
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | 0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | 0.1 | － | <0.1 | 0.1 | <0.1 | ﾏﾝｶﾞﾝ（溶解性）
41 | ﾌｯ素 | mg／L | 0.2 | － | 0.1 | － | 0.1 | － | 0.2 | － | 0.1 | － | 0.2 | － | 0.2 | － | 0.1 | － | 0.1 | － | 0.2 | － | 0.2 | － | 0.2 | － | 0.2 | 0.2 | 0.1 | ﾌｯ素
42 | ﾎｳ素 | mg／L | 0.05 | － | 0.06 | － | 0.06 | － | 0.06 | － | 0.06 | － | 0.06 | － | 0.05 | － | 0.05 | － | 0.05 | － | 0.06 | － | 0.05 | － | 0.05 | － | 0.06 | 0.06 | 0.05 | ﾎｳ素
43 | ｾﾚﾝ及びその化合物 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | ｾﾚﾝ及びその化合物
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE）
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE）
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | 0.001 | － | 0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | 0.001 | － | <0.001 | － | <0.001 | 0.001 | <0.001 | ｼﾞｸﾛﾛﾒﾀﾝ
47 | 四塩化炭素 | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 四塩化炭素
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ
54 | ﾁｳﾗﾑ | mg／L | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | <0.0006 | <0.0006 | <0.0006 | ﾁｳﾗﾑ
55 | ｼﾏｼﾞﾝ | mg／L | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | <0.0005 | <0.0005 | <0.0005 | ｼﾏｼﾞﾝ
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | <0.0003 | <0.0003 | <0.0003 | ﾁｵﾍﾞﾝｶﾙﾌﾞ
57 | ﾍﾞﾝｾﾞﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾍﾞﾝｾﾞﾝ
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | <0.05 | <0.05 | 1,4-ｼﾞｵｷｻﾝ
59 | ﾆｯｹﾙ | mg／L | [24 empty] | ― | ― | ― | ﾆｯｹﾙ | bar: 2022-04-06 to 2023-03-08
|  |  | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色
60 | 大腸菌群数 | 個／cm3 | 120000 | 98000 | 110000 | 110000 | 130000 | 90000 | 150000 | 160000 | 120000 | 200000 | 210000 | 140000 | 140000 | 170000 | 93000 | 140000 | 150000 | 140000 | 120000 | 79000 | 84000 | 98000 | 81000 | 99000 | 130000 | 210000 | 79000 | 大腸菌群数
61 | 残留塩素（total） | mg／L | [24 empty] | ― | ― | ― | 残留塩素（total） | bar: 2022-04-06 to 2023-03-08
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素

## 中央放流水
1
令和４年度
| 精密試験結果 |  | 放流水 | [12 empty] | 中央水みらいセンター | [10 empty] | 放流水 |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目
|  | (1-21,60,61） | 2022-04-06 | 2022-04-20 | 2022-05-11 | 2022-05-18 | 2022-06-01 | 2022-06-16 | 2022-07-07 | 2022-07-21 | 2022-08-03 | 2022-08-24 | 2022-09-08 | 2022-09-21 | 2022-10-06 | 2022-10-19 | 2022-11-09 | 2022-11-16 | 2022-12-07 | 2022-12-21 | 2023-01-11 | 2023-01-18 | 2023-02-01 | 2023-02-15 | 2023-03-01 | 2023-03-08
|  | （22-59） | 2022-04-06 | 2022-04-20 | 2022-05-11 | 2022-05-18 | 2022-06-01 | 2022-06-16 | 2022-07-07 | 2022-07-27 | 2022-08-03 | 2022-08-25 | 2022-09-08 | 2022-09-21 | 2022-10-06 | 2022-10-19 | 2022-11-09 | 2022-11-16 | 2022-12-07 | 2022-12-21 | 2023-01-11 | 2023-01-18 | 2023-02-01 | 2023-02-15 | 2023-03-01 | 2023-03-08
1 | 採水方法 |  | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット |  |  |  |  | 22-58はスポット採水
2 | 水温 | ℃ | 20.6 | 22.3 | 22.7 | 23.2 | 24.8 | 24.9 | 27.7 | 28.3 | 29.6 | 29.3 | 28.4 | 27.3 | 26.7 | 26.2 | 24.2 | 24 | 21.4 | 19.5 | 19.4 | 18.1 | 18.2 | 18.7 | 18.5 | 19.7 | 23.5 | 29.6 | 18.1 | 水温
3 | 透視度 | 度 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 透視度
4 | pH |  | 7 | 6.8 | 6.9 | 6.8 | 6.8 | 6.7 | 6.8 | 6.8 | 6.8 | 6.9 | 6.8 | 6.8 | 6.7 | 6.8 | 6.6 | 6.4 | 6.9 | 6.6 | 6.5 | 6.8 | 6.5 | 6.8 | 6.7 | 6.7 | 6.7 | 7 | 6.4 | pH
5 | 蒸発残留物 | mg／L | 838 | 1018 | 1088 | 1062 | 1374 | 1278 | 1224 | 1030 | 1202 | 1144 | 986 | 1030 | 934 | 518 | 318 | 284 | 926 | 1110 | 1072 | 1058 | 968 | 860 | 918 | 1120 | 973 | 1374 | 284 | 蒸発残留物
6 | 強熱残留物 | mg／L | 500 | 562 | 446 | 502 | 580 | 400 | 594 | 426 | 522 | 428 | 392 | 436 | 436 | 340 | 156 | 222 | 554 | 562 | 596 | 580 | 486 | 468 | 474 | 542 | 467 | 596 | 156 | 強熱残留物
7 | 強熱減量 | mg／L | 338 | 456 | 642 | 560 | 794 | 878 | 630 | 604 | 680 | 716 | 594 | 594 | 498 | 178 | 162 | 62 | 372 | 548 | 476 | 478 | 482 | 392 | 444 | 578 | 507 | 878 | 62 | 強熱減量
8 | 溶解性物質 | mg／L | 837 | 1018 | 1087 | 1061 | 1373 | 1277 | 1224 | 1030 | 1202 | 1143 | 986 | 1030 | 933 | 517 | 317 | 284 | 926 | 1110 | 1070 | 1057 | 967 | 858 | 917 | 1119 | 973 | 1373 | 284 | 溶解性物質
9 | 浮遊物質（SS） | mg／L | 1 | <1 | 1 | 1 | 1 | 1 | <1 | <1 | <1 | 1 | <1 | <1 | 1 | 1 | 1 | <1 | <1 | <1 | 2 | 1 | 1 | 2 | 1 | 1 | <1 | 2 | <1 | 浮遊物質（SS）
10 | 生物化学的酸素要求量（BOD） | mg／L | 3.7 | 1.1 | 1.5 | 2.4 | 2.3 | 1.7 | <1.0 | <1.0 | 1 | 1 | 1.1 | <1.0 | <1.0 | <1.0 | 1.3 | 1 | <1 | <1 | 2.3 | 2.9 | 2.4 | 4.2 | 1.8 | 2.3 | 1.4 | 4.2 | <1.0 | 生物化学的酸素要求量（BOD）
11 | 化学的酸素要求量（COD） | mg／L | 10 | 8.6 | 8.2 | 8 | 7.6 | 6.9 | 6.8 | 6.7 | 7.5 | 7.1 | 7.4 | 6.6 | 7.3 | 7.5 | 8 | 7.5 | 7.9 | 8.2 | 9.2 | 9.4 | 9.1 | 10 | 9.3 | 9 | 8.1 | 10 | 6.6 | 化学的酸素要求量（COD）
12 | 全窒素（T-N） | mg／L | 11 | 10 | 9.2 | 10 | 10 | 9.4 | 9.4 | 9.4 | 10 | 8.9 | 9.4 | 10 | 11 | 11 | 13 | 12 | 12 | 12 | 14 | 12 | 13 | 12 | 12 | 12 | 11 | 14 | 8.9 | 全窒素（T-N）
13 | 有機性窒素 | mg／L | 1 | 1.2 | 0.42 | 1.1 | 0.37 | 0.25 | 1.6 | 0.17 | 0.72 | 0.059 | 0.59 | 2 | 0.94 | 1.4 | 0.69 | 0 | 0.7 | 1.6 | 0.39 | 2.9 | 0.87 | 0.8 | 1 | 1.6 | 0.93 | 2.9 | 0 | 有機性窒素 | ※１
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | 3.7 | 1.1 | 1.1 | <0.20 | 0.55 | <0.20 | <0.20 | 0.2 | 0.49 | 0.5 | 0.36 | <0.20 | <0.20 | <0.20 | 0.28 | <0.20 | 0.24 | 0.27 | 0.49 | 1.7 | 0.97 | 2 | 2 | 2.4 | 0.76 | 3.7 | <0.20 | ｱﾝﾓﾆｱ性窒素（NH4－N）
15 | 亜硝酸性窒素（NO2－N） | mg／L | 1 | 0.19 | 0.18 | 0.1 | 0.079 | 0.045 | 0.025 | 0.021 | 0.088 | 0.041 | 0.045 | 0.023 | 0.059 | 0.051 | 0.03 | <0.010 | 0.056 | 0.048 | 0.12 | 0.22 | 0.16 | 0.3 | 0.2 | 0.23 | 0.14 | 1 | <0.010 | 亜硝酸性窒素（NO2－N）
16 | 硝酸性窒素（NO3－N） | mg／L | 5.3 | 7.5 | 7.5 | 8.8 | 9 | 9.1 | 7.7 | 9 | 8.7 | 8.3 | 8.4 | 7.9 | 10 | 9.5 | 12 | 12 | 11 | 10 | 13 | 7.1 | 11 | 8.9 | 8.8 | 7.7 | 9.1 | 13 | 5.3 | 硝酸性窒素（NO3－N）
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | 7.7 | 8.1 | 8.1 | 8.9 | 9.2 | 9.1 | 7.7 | 9.1 | 8.9 | 8.5 | 8.5 | 7.9 | 10 | 9.5 | 12 | 12 | 11 | 10 | 13 | 8 | 11 | 10 | 9.8 | 8.8 | 9.5 | 13 | 7.7 | ｱﾝﾓﾆｱ性窒素等 | ※２
18 | 全燐（T－P） | mg／L | 0.85 | 0.61 | 0.53 | 0.92 | 1 | 0.83 | 0.96 | 0.9 | 0.45 | 1 | 1.2 | 1 | 1.5 | 1.1 | 1.5 | 2 | 0.86 | 0.86 | 1.1 | 0.97 | 0.96 | 0.88 | 0.76 | 0.81 | 0.98 | 2 | 0.45 | 全燐（T－P）
19 | りん酸態りん | mg／L | 0.71 | 0.51 | 0.43 | 0.8 | 0.92 | 0.76 | 0.91 | 0.85 | 0.4 | 1 | 1.1 | 0.94 | 1.4 | 1.1 | 1.4 | 1.9 | 0.79 | 0.77 | 1 | 0.71 | 0.88 | 0.77 | 0.61 | 0.7 | 0.89 | 1.9 | 0.4 | りん酸態りん
20 | 塩化物イオン | mg／L | 320 | 430 | 330 | 330 | 400 | 300 | 340 | 260 | 320 | 270 | 250 | 300 | 250 | 170 | 49 | 64 | 380 | 270 | 390 | 390 | 350 | 240 | 290 | 390 | 300 | 430 | 49 | 塩化物イオン
21 | よう素消費量 | mg／L | [24 empty] | ― | ― | ― | よう素消費量 | bar: 2022-04-06 to 2023-03-08
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | [24 empty] | <1 | <1 | <1 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | bar: 2022-04-06 to 2023-03-08
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | bar: 2022-04-06 to 2023-03-08
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | bar: 2022-04-06 to 2023-03-08
25 | 陰イオン界面活性剤 | mg／L | [24 empty] | ― | ― | ― | 陰イオン界面活性剤 | bar: 2022-04-06 to 2023-03-08
26 | ﾌｪﾉｰﾙ類 | mg／L | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | - | <0.05 | <0.05 | <0.05 | ﾌｪﾉｰﾙ類
27 | ｼｱﾝ含有量 | mg／L | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | N.D. | - | ND | ND | ND | ｼｱﾝ含有量
28 | ｱﾙｷﾙ水銀 | mg／L | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | ND | ND | ND | ｱﾙｷﾙ水銀
29 | 有機燐 | mg／L | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | <0.1 | <0.1 | <0.1 | 有機燐
30 | ｶﾄﾞﾐｳﾑ | mg／L | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | - | <0.003 | <0.003 | <0.003 | ｶﾄﾞﾐｳﾑ
31 | 鉛 | mg／L | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 鉛
32 | PCB | mg／L | - | - | N.D. | - | - | - | - | - | N.D. | - | - | - | - | - | N.D. | - | - | - | - | - | N.D. | - | - | - | ND | ND | ND | PCB
33 | 六価ｸﾛﾑ | mg／L | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | 六価ｸﾛﾑ
34 | 砒素 | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 砒素
35 | 総水銀 | mg／L | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | ND | ND | ND | 総水銀
36 | ｸﾛﾑ | mg／L | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | ｸﾛﾑ
37 | 銅 | mg／L | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 銅
38 | 亜鉛 | mg／L | 0.01 | 0.02 | 0.02 | 0.02 | 0.04 | 0.03 | 0.04 | 0.02 | 0.02 | 0.03 | 0.03 | 0.02 | 0.03 | 0.05 | 0.04 | 0.05 | 0.04 | 0.03 | 0.03 | 0.03 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.05 | 0.01 | 亜鉛
39 | 鉄（溶解性） | mg／L | 0.1 | 0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | 0.1 | <0.1 | 0.1 | 0.1 | 0.1 | 0.1 | <0.1 | 0.1 | <0.1 | 鉄（溶解性）
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | <0.1 | 0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 0.1 | <0.1 | 0.1 | 0.1 | 0.1 | <0.1 | 0.1 | <0.1 | ﾏﾝｶﾞﾝ（溶解性）
41 | ﾌｯ素 | mg／L | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.3 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 0.3 | 0.1 | ﾌｯ素
42 | ﾎｳ素 | mg／L | 0.04 | 0.04 | 0.05 | 0.04 | 0.05 | 0.03 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04 | 0.03 | 0.04 | 0.04 | 0.04 | 0.04 | 0.05 | 0.05 | 0.05 | 0.05 | 0.04 | 0.05 | 0.04 | 0.05 | 0.04 | 0.05 | 0.03 | ﾎｳ素
43 | ｾﾚﾝ及びその化合物 | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | ｾﾚﾝ及びその化合物
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE）
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE）
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | ｼﾞｸﾛﾛﾒﾀﾝ
47 | 四塩化炭素 | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 四塩化炭素
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ
54 | ﾁｳﾗﾑ | mg／L | - | - | <0.0006 | - | - | - | - | - | <0.0006 | - | - | - | - | - | <0.0006 | - | - | - | - | - | <0.0006 | - | - | - | <0.0006 | <0.0006 | <0.0006 | ﾁｳﾗﾑ
55 | ｼﾏｼﾞﾝ | mg／L | - | - | <0.0005 | - | - | - | - | - | <0.0005 | - | - | - | - | - | <0.0005 | - | - | - | - | - | <0.0005 | - | - | - | <0.0005 | <0.0005 | <0.0005 | ｼﾏｼﾞﾝ
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | - | - | <0.0003 | - | - | - | - | - | <0.0003 | - | - | - | - | - | <0.0003 | - | - | - | - | - | <0.0003 | - | - | - | <0.0003 | <0.0003 | <0.0003 | ﾁｵﾍﾞﾝｶﾙﾌﾞ
57 | ﾍﾞﾝｾﾞﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ﾍﾞﾝｾﾞﾝ
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | 1,4-ｼﾞｵｷｻﾝ
59 | ﾆｯｹﾙ | mg／L | [24 empty] | ― | ― | ― | ﾆｯｹﾙ | bar: 2022-04-06 to 2023-03-08
|  |  | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色
60 | 大腸菌群数 | 個／cm3 | 1 | 0 | 0 | 29 | 73 | 8 | 61 | 96 | 0 | 0 | 1 | 7 | 130 | 1 | 17 | 64 | 8 | 1 | 2 | 1 | 0 | 25 | 0 | 1 | 22 | 130 | 0 | 大腸菌群数
61 | 残留塩素（total） | mg／L | 0.18 | 0.34 | 0.26 | 0.14 | 0.12 | 0.18 | 0.21 | 0.13 | 0.2 | 0.26 | 0.21 | 0.22 | 0.08 | 0.1 | 0.15 | 0.27 | 0.13 | 0.22 | 0.29 | 0.41 | 0.16 | 0.11 | 0.35 | 0.2 | 0.21 | 0.41 | 0.08 | 残留塩素（total）
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素

## 中央放流水終出水 (hidden)
2
令和４年度
| 精密試験結果 |  | 放流水 | [12 empty] | 中央水みらいセンター | [10 empty] | 放流水 |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目 |  | 平均 | 最大 | 最小 | [7 empty] | 定量下限値
|  | (1-21,60,61） | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [8 empty] | MINA | MIN | 検出回数 | 測定回数 | 平均 | 最大 | 最小
|  | （22-59） | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1 | 採水方法 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 22-58はスポット採水 | [10 empty] | 21-58はスポット採水
2 | 水温 | ℃ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 水温 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0 | 小数１位
3 | 透視度 | 度 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 透視度 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0 | ２桁
4 | pH |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | pH |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0 | 小数１位
5 | 蒸発残留物 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 蒸発残留物 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
6 | 強熱残留物 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 強熱残留物 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
7 | 強熱減量 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 強熱減量 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
8 | 溶解性物質 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 溶解性物質 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
9 | 浮遊物質（SS） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 浮遊物質（SS） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
10 | 生物化学的酸素要求量（BOD） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 生物化学的酸素要求量（BOD） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1 | 1.0
11 | 化学的酸素要求量（COD） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 化学的酸素要求量（COD） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1 | 1.0
12 | 全窒素（T-N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 全窒素（T-N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.2 | 0.20
13 | 有機性窒素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 有機性窒素 | ※１ | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｱﾝﾓﾆｱ性窒素（NH4－N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.2 | 0.20
15 | 亜硝酸性窒素（NO2－N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 亜硝酸性窒素（NO2－N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01 | 0.010
16 | 硝酸性窒素（NO3－N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 硝酸性窒素（NO3－N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1 | 0.10
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｱﾝﾓﾆｱ性窒素等 | ※２ | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01
18 | 全燐（T－P） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 全燐（T－P） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1 | 0.10
19 | りん酸態りん | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | りん酸態りん |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1 | 0.10
20 | 塩化物イオン | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 塩化物イオン |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
21 | よう素消費量 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | よう素消費量 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
25 | 陰イオン界面活性剤 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 陰イオン界面活性剤 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.08
26 | ﾌｪﾉｰﾙ類 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾌｪﾉｰﾙ類 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05
27 | ｼｱﾝ含有量 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼｱﾝ含有量 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05 | ＮＤ
28 | ｱﾙｷﾙ水銀 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｱﾙｷﾙ水銀 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005 | ＮＤ
29 | 有機燐 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 有機燐 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
30 | ｶﾄﾞﾐｳﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｶﾄﾞﾐｳﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.003
31 | 鉛 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 鉛 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01
32 | PCB | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | PCB |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005 | ＮＤ
33 | 六価ｸﾛﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 六価ｸﾛﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.04
34 | 砒素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 砒素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
35 | 総水銀 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 総水銀 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005 | ＮＤ
36 | ｸﾛﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｸﾛﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.02
37 | 銅 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 銅 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.02
38 | 亜鉛 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 亜鉛 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01
39 | 鉄（溶解性） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 鉄（溶解性） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾏﾝｶﾞﾝ（溶解性） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
41 | ﾌｯ素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾌｯ素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
42 | ﾎｳ素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾎｳ素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.02
43 | ｾﾚﾝ及びその化合物 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｾﾚﾝ及びその化合物 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼﾞｸﾛﾛﾒﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
47 | 四塩化炭素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 四塩化炭素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，2-ｼﾞｸﾛﾛｴﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
54 | ﾁｳﾗﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾁｳﾗﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0006
55 | ｼﾏｼﾞﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼﾏｼﾞﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾁｵﾍﾞﾝｶﾙﾌﾞ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0003
57 | ﾍﾞﾝｾﾞﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾍﾞﾝｾﾞﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1,4-ｼﾞｵｷｻﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05
59 | ﾆｯｹﾙ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾆｯｹﾙ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.06
|  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | 0 | 24
60 | 大腸菌群数 | 個／cm3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 大腸菌群数 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
61 | 残留塩素（total） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 残留塩素（total） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素